STORMWATER CHECKLIST

All catch basins, open swale/ ditches, inlets, outlets and major outfalls to be cleared of debris and obstructions. Growth trimmed maintained with all culverts and Tide Flex valves under continuous maintenance and inspection where equipped. 

Lake Bethany: 

_________ 1- 12" inlet @933 Lakeview Drive including tide flex at outfall to pond 
_________ 1- 12" inlet @ 936 Lakeview Dr. 
_________ 1- 12"culvert inlet @ 936 Heron Drive 
_________ Open drainage swale 946 Heron Drive 
_________ Entire open swale/ ditch from 964 Lakeview Drive continuing thru rear of 
Properties, outfall to open marsh at 942 Heron Drive. 
_________ 1- 12" inlet @ 958 Heron Dr. 
________ 1- 12" inlet @ 953 Lakeview Dr. 

Bethany Glen: 

_________ Open drainage swale outfall between 848 & 846 Glenn Drive 
_________ Open drainage swale at 849 Glenn Court

Bayberry Woods:

_________ Clear ditch around perimeter of development 

Westwood: 

_________ Open drainage swale at intersection of Beach haven and Westwood. continuing behind # 824 units, outfall into open marshland. 
_________ 12" inlet at northeast comer of #829 
_________ 2- 12" inlets at trash dumpster north of unit # 829 
________ 3- 12" inlets at comers of unit #830 including 12" inlet on east side of Westwood Ave. 
_________ 4 - 12" inlets at N & S comers of unit # 827 1 near trash dumpster, including 1- 12"inlet on east side of Westwood Ave. 

Villas of Bethany West: 

_________ Open drainage outfall, beginning at rear of Grotto Pizza at inlets. All catch basins contributing to drainage area. Outfall into open marsh area near Lake Bethany neighborhood. 
_________ Catch basin/ inlet and outfall at retention pond near swimming pool. 
_________ Open Drainage swale/ ditch beginning at St. Ann's traveling behind rear of villas units across Sixth St. to outfall into canal. 

Evans Road: 

_________ Culvert inlets and outlets with tide flex valves at end of Evans Rd. 
_________ Fourth St. and Evans Rd. east and west sides, including street surface 

Tingle Avenue: 

_________ Open drainage swale/ ditch beginning at rear of lift station continuing thru culvert @ Second St. outfall into loop canal, at end of Stewards Watch community. 
_________Open swale and culvert inlet @ corner of Tingle and Second St., flowing into culvert of outfall ditch. 

Hudson Avenue: 

_________ Open drainage swale from Rt.. 26 thru culvert at Dolphin Manor toward outfall into loop canal. Inlets and outfalls throughout neighboring drainage systems, discharging into Hudson Avenue drainage area. 

Gibson Avenue: 

_________ 12" inlet at northeast comer of Gibson Ave. and Central Ave. 
_________ 24" inlet 419 Gibson Avenue 
_________ 12" inlet 420 Gibson Avenue 
_________ 12" inlet 421 Gibson Avenue 
_________ 12"inlet 426 Gibson Avenue 
_________ 12" inlet 429 Gibson Avenue 
_________ 12" inlet 430 Gibson Avenue 
_________ 12" inlet 431 Gibson Avenue 

Pine Street: 

_________ 24" inlet at Comer of Pine St. and Rt. 1 

Canal Property: 

_________ 375 Sandpiper Drive inlet retention area and tide flex at outfall. 
_________ 324 Canal Court inlet retention area and tide flex at outfall. 

N. Pennsylvania Ave: 

_________ 4- 24" inlets @ corners of N. Pennsylvania Ave. and Fifth St. 
_________ 2-12" inlets 91 N. Pennsylvania Ave., east and west side of street 
_________ 2- 12" inlets 50' north of Fourth and N. Penn., east and west side of street 

_________ 1- 24" inlet S/W comer of Fourth St. and N. Pennsylvania Ave. 
_________ 2- 12" inlets near alley access, between 4th. St. and Ocean View Pkwy. east and west side of street
_________ 3- 24" inlets N Pennsylvania Ave. & Ocean View Pkwy. N/E, N/W, and S/W corners of intersection 
_________ 2- 12" inlets N. Pennsylvania Ave near alley entrance, between Ocean View Pkwy. & Third ST., east side of street 
_________ 1- 12" inlet N. Pennsylvania Ave. @ parking meter pole # W46 
________ 2- 24" inlets N. Pennsylvania Ave & Third St. N/E and S/E comer 
_________ 1-12" inletN. Pennsylvania Ave & Third St. S/W comer 
_________ 1- 12" inlet N. Pennsylvania Ave. between Third St. and Second St. @ meter pole #W39 
________ 2- 24" inlets N. Pennsylvania Ave & Second St. N/E and S/W comers 
_________ 1- 12" inlet East side of 47 N Pennsylvania Ave. 
_________ 1- 36"x 48" inlet 47N. Pennsylvania Ave., S/W comer of property 
_________ Single outfall pipe into loop canal, including rip rap at Centennial Park 
_________ 3- 24" inlets N. Pennsylvania Ave. & First St. N/E, S/E, and S/W comers 
_________ 2- 24 "x 36" inlets N. Pennsylvania Ave., at alley entrance between 1st  & Central Ave., east and west sides of street. 
_________ 4- inlets (2- 24") (1-24"x36"S/W) N. Pennsylvania Ave. & Central Blvd. 
(4 comers) 
________Culvert inlet, S/W comer of intersection of Central Blvd. and N Pennsylvania Ave., to red zone parking area. 
_________ 1- 24 "x 36" inlet, N. Pennsylvania @ meter pole W12
_________ 3-24" inlets, N. Pennsylvania Ave. & Campbell Place. N/E, Center Island, and S/E comer. 
_________ 1- 24"x 36" inlet, N. Pennsylvania Ave., in front of Connor Jacobsen Realty west side of street 
_________ 1- 24" inlet, N Pennsylvania Ave., in front of Bethany Blues, east side of street 
_________ 1- 24 "x 36" inlet, N. Pennsylvania Ave. & Garfield Pkwy., west side of street @ meter pole W 1 

S. Pennsylvania Ave: 

_________ 2- 24" x 30" inlets, S. Pennsylvania Ave. E & W, in front of PNC Bank 
_________5 inlets, (4- 24"x30") (1)- 12" inlet, S. Pennsylvania Ave. & Hollywood Street N/E (1) S/E (2) S/W (2) 
________  2-12" inlets S. Pennsylvania Ave. & Parkwood St., N/E & S/E comer 
_________ 4- inlets (3) 12" (1) 24"x 30" S/E  S. Pennsylvania Ave. & Wellington Pkwy. N/E comer, center Island, and S/W comer 
_________ 1- 24"x 36" inlet, at alley entrance between Wellington & Oakwood N/E corner
_________ 3- inlets, 1- 24", 1- 24"x 36", 1- \2" S. Pennsylvania Ave & Oakwood St. N/E, S/E, and S/W comer 
_________ 1- 12" inlet, S. Pennsylvania Ave., at alley entrance between Oakwood & Maplewood streets. 
_________ 3- 12" inlets, S. Pennsylvania Ave. & Maplewood St. N/E, S/E, and S/W corners
_________1- 12" inlet, S. Pennsylvania Ave and alley entrance, between Maplewood & Ashwood streets. 
_________ 2-12" & 1- 24" inlets, S. Pennsylvania Ave. & Ashwood St. N/E, S/E, and N/W comers. 
_________ Culvert outlet and inlet @ S/W comer of Ashwood and S.Pennsylvania.Ave. 
_________ 2- 12” inlets, S. Pennsylvania Ave. & Cedarwood Ct., N/W & S/W comers 
_________ 1-12" inlet, S.Pennsylvania Ave. & Cedarwood St., N/E comer 
_________ 1-12" inlet, S. Pennsylvania Ave. @ Sea Pines Villas, west side of street 
_________ Open Drainage outfall and rip rap carrying South Pennsylvania Avenue stormwater flow, @ S. Pennsylvania Ave & Sea Colony Rec. Association border. 

South Atlantic Avenue: 

_________ 1 -24"  inlet, French drain basin, S/W comer of S. Atlantic & Ashwood 
St. 
_________ 1- 24" inlet, French drain basin, west side of S. Atlantic @ 98 Maplewood 
St. 
_________2- 24" inlets, French drain basins, @ N/E & S/W comers of S. Atlantic & Maplewood St. 
_________1- 24" inlet, French drain, S. Atlantic Ave. & Oakwood St., N/E comer 
_________1-12" inlet, S. Atlantic Ave. across from 99 Wellington Ave., west side of 
street. 
_________1- 24 "inlet, @ N/W comer of Wellington Parkway 
_________1- 24" inlet, French drain basin at 29 S. Atlantic Ave. 
________ 2- 24" inlets, French drain basin, S. Atlantic Ave., @ 98 Parkwood St., east and west side of street. 
_________ 2- 24" inlets, French drain basin S. Atlantic Ave., 50' N of Parkwood intersection, east and west side of street. 
1- 12" inlet 8. Atlantic Ave., @ meterpole #811 
_________ 2- 24" inlets, French drain basin, S. Atlantic Ave. & Hollywood St., S/W & S/E comers of intersection. 
_________ 1-12' inlet, S. Atlantic Ave at Bethany Arms motel, 50' N of intersection at Hollywood St. entrance. 
_________ 1- 12" inlet, S. Atlantic Ave., @ entrance to Blue Surf motel, by alley  
_________ 2- 24"x 36" inlet, S. Atlantic Ave., opposite D.B. Fries Inc. 

North Atlantic Avenue: 

_________ 2- 36" inlets, N. Atlantic Ave. & Central Blvd. N/E & S/E comers

_________ 4- 36" inlets, N. Atlantic Ave. & First St. 4 comers 
_________ 2- 36" inlets, N. Atlantic Ave. & Second St. N/E & S/E comers 
_________ 2- 36" inlets, N. Atlantic Ave. & Third St. N/E & S/E comers 
_________ 2- 36" inlets, N. Atlantic Ave. & Ocean View Pkwy., N/E & S/E comers 
_________ 2- 36" inlets, N. Atlantic Ave & Fourth St. N/E & S/E comers 
_________ 3- 36" inlets, N. Atlantic Ave. & Fifth St., N/W, S/E, and S/W comers 

Fifth Street: 

_________ 1- 36" inlet, north side of street, @ 212 Fifth St. 

Second Street: 

_________ 2- 24" inlets, north and south side of street, @ 220 Second St. 

Central Boulevard: 

_________ Inlets, @ 3 comers of Rt. 1 & Central Blvd., N/E, N/W, & S/W comers 

Hollywood Street: 

_________ 2- 24x 30" inlets, in front of fire station 
_________ 1- 24"x 30" inlet, @ 218 Hollywood St. 
_________ 4- 24" inlets, Rt.l & Hollywood St., (2) N/E, S/E, & N/W comers 
_________Open drainage swale, 318 Hollywood St., continuing behind property to Garfield Extended inlet . 

Parkwood Street: 

_________ 1- !2” inlet, 108 Parkwood Street
_________ 1- 12" inlet, 112 Packwood Street 
_________ 1- 12" inlet, 122 Parkwood Street 
_________ 1- 12" inlet, 206 Parkwood Street
_________ 1- 12” inlet, 218 Parkwood Street
_________ 1- 36" x 48" inlet, Rt. 1 & Packwood Street, S/W corner  

Wellington Parkway: 

_________ 1- 24" inlet, 121 Wellington Pkwy. 
_________ 1- 24" inlet, center island, @ WellingtonPkwy. 
_________ 1- 24" x 36" inlet, 123 Wellington Pkwy. 
_________ 2- inlets, (1) - 12"north side of street in center island, @ 204 Wellington, (1)- 24” in center island, @ 223 Wellington Pkwy. 
_________1- double 36" inlet, N/W comer, @ Wellington Pkwy & Rt. 1 

Oakwood Street:  

_________ 1- 24" inlet, @ 110 Oakwood St. 
_________1- 24” inlet, @ 111 Oakwood St 
________1- 24"x 30" inlet, N/W comer, @ Oakwood & Rt. 1 
________1 -24"x 30" inlet 50'S ofRt.l SIB & Oakwood Street at grade of open drainage swale. 

Maplewood Street:

_________ 1- 24" inlet, French drain basin, @ 112 Maplewood Street 
_________ 1- 24" x 30" inlet, @ Rt. 1 & Maplewood St. 

Beachwood Lane: 

_________ 1- 24" inlet, center of street @ 403 Beachwood Lane 
_________ 1- 24" inlet, center of street @ 409 Beachwood Lane 
_________ 1- 24' inlet, center of street, @415 Beachwood Lane 

Lekites Ave. / Beach Hollow / Library / Collin St. / Bethany Pines: 

Open drainage swale/ ditch from rear of property bordering Lekites Ave. and Beach Hollow properties. Continuing north across Collins Ave. toward Bethany Pines. Crossing Bethany Drive flowing north to Bethany Crossing Thru culvert! basin system at rear of units to Rt. 26, then heading toward Hudson Avenue drainage area. 

Garfield Parkway Extended (Bennett Road) 
_________ 4- 24" inlets, along entire street area 

Candlelight Acres:

_________ 5- inlets on Candlelight Lane
_________ Open drainage swale/ditch in rear of properties, starting @ 520 Candlelight Lane, continuing thru to 540 Candlelight Lane, outfall at Fairway Drive. 
_________ Open drainage swale /ditch in front of properties, from 501 Candlelight Lane, west to 563 candlelight Lane, parallel with route 26. 
_________ 2- 24"x 36" inlet, 532 & 533 Candlelight lane, including outfall inspection. 

Bayberry Woods:

_________ Open drainage swale/ditch at rear of units neighboring Bethany West, outfall into Evans Road drainage ditch. 
_________ Open drainage swale/ditch @ entrance of development, east side of street, 
outfall into catch basin at Rt. 26. 

Bethany West: 

_________ Open drainage swale @ 686 Collins, including inlet at rear of Shore Stop
_________ 2- 18” inlets, Poplar Ct., oufall at pond
_________ 2- 12” inlets, N/W & S/W corner Halfmoon Drive and Poplar Ct.
_________ 2- 18” inlets, N/W & S/W corner Halfmoon Drive and Juniper Ct.
_________ 2- 12” inlets, N/W & S/W corner Halfmoon Drive and Laurel Ct.
_________ 1- 12” inlet, east side Halfmoon Drive @ Laurel Ct. entrance
_________ 1- 12” inlet, east side Halfmoon Drive @ Juniper Ct. entrance
_________ 1- inlet, @ 718 Fenwood Circle 
_________ 1- inlet, @ 723 Fenwood Circle 
_________ 1- inlet, @ 742 Fenwood Circle 
_________ 1- inlet, @ 757 Fenwood Circle 
 _________ 1- inlet, @ 720 Radial Drive 
_________ 1- inlet, @ 731 Radial Drive 
_________ 1- inlet, @ 708 Radial Drive 
_________ 1- inlet, @713 Radial Drive 
_________ 1- 24”x 30” inlet, @ 760 Halfmoon Dr. 
_________ 3- 24" inlets, 728 Halfmoon Dr. 
_________ Open drainage swale, from Halfmoon Dr. to Fairway Dr., near .tennis courts 
_________ Fairway Drive inlet, @ 510 Fairway, west side of street, outfall into Tingle Ave. Drainage north ofRt. 26. 
_________ Clear large drainage ditch along perimeter of Bethany West Sea Colony and all outfall locations
_________ Doral Drive
_________ Pinehurst Court
_________ Fairway Drive
_________ Springlake Drive 
__________ Tudor Court
_________ Linwood Court 
_________ Paget Court 
_________ Clear large ditch between Bethany West & Turtlewalk including open outfalls 
_________ 5- 12” inlets between Collins Ct. and large ditch at Turtlewalk 
_________ Open outfall @ Delaware Ct. 
_________ Open drainage swale between 613/615 Sandstone Ct. & 535/537 Fairway Dr. 
_________ Open drainage swale from rear of 507 Cherry Hill Ct. bordering Water Plant property and Bellhaven Ct.., extending across Collins Street to Candlelight Lane system
_________ Open drainage swale from Lekites Street to Garfield Station outfall
_________ 4- 15” inlets @ Garfield Station  

Turtle Walk Development: 
 
_________ Culvert inlet @ 950 turtle Dr. including outfall to canal with tide gate 
_________ Collection area and open drainage swale bordering 990 & 995 Turtle Dr. 
_________ 2- 24" inlets, @ 974 Hawksbill St. 
_________Open drainage between 969 & 971 Hawksbill St. at beginning of Bethany West/Turtlewalk drainage ditch.

Lake Bethany:

_________ All swales in Lakeview Drive/Pine Tree Lane area

Rt. #26:

_________ All drainage inlets along Rt. #26

Rt. #1:

_________ All open ditches along Rt. #1

Main Outfalls:

_________ Open drainage swale between west of Hudson Ave.
_________ Open drainage swale between Hudson Ave. & Tingle Ave.
_________ Open drainage swale between Evans Rd. & Villas of Bethany West
_________ Open drainage swale between Villas of Bethany West and Bethany Beach Nature Center, entire length to Loop Canal
_________ Open drainage swale between Lake Bethany & Bethany Glen/ Westwood developments